# Genomic DNA extraction (MasterPure Yeast kit)

Adapted from the lab compendium Snowflake Yeast Protocols — Ratcliff Lab / MuLTEE (V2).

## Genomic DNA extraction

Genomic DNA is purified using the MasterPure™ Yeast DNA Purification Kit (Epicentre/Lucigen, Cat. Nos. MPY80010/MPY80200).

- Harvest cells: pellet a saturated 1.5 mL liquid culture by centrifugation (≥10,000 rpm, 2–5 min), or scrape a single colony (~2 mm diameter) from a plate directly into 300 μL Yeast Cell Lysis Solution.

- If starting from a liquid culture pellet, remove all growth medium, then add 300 μL Yeast Cell Lysis Solution. Optionally add 1 μL of 5 μg/μL RNase A.

- Suspend the cells thoroughly by vortexing or by repeated pipetting with a large-bore (1 mL capacity) tip.

- Incubate at 65 °C for 15 min.

- Place on ice for 5 min, then add 150 μL MPC Protein Precipitation Reagent and vortex for 10 s.

- Pellet cellular debris by centrifugation (≥10,000 rpm, 10 min).

- Transfer the supernatant to a clean tube, add 500 μL isopropanol, and mix by inversion.

- Pellet the precipitated DNA by centrifugation (≥10,000 rpm, 10 min).

- Discard the supernatant; wash the DNA pellet with 0.5 mL 70% ethanol, remove the ethanol, and briefly re-spin to remove any residual liquid.

- Resuspend the DNA in 35 μL TE buffer and store at 4 °C.