# Isolating individual spheroplasts for single-cell RNA extraction

Adapted from the lab compendium Snowflake Yeast Protocols — Ratcliff Lab / MuLTEE (V2).

## Isolating individual spheroplasts for single-cell RNA extraction

- Entire method performed between 0–4 °C unless otherwise specified.

- 10 mL mid-log culture transferred to 15 mL centrifuge tube.

- Clusters pelleted by centrifugation at 4,000 × g for 2 minutes. Discard supernatant.

- Dissociate clusters by pipetting up and down ~50 times using a 100 μL wide-bore pipette tip.

- Gently crush clusters between two microscope slides: use the 100 μL wide-bore pipette tip to drop 10 μL of cluster pellet onto ~15 spots on a microscope slide, then gently place a second microscope slide on top of the first, then place a third slide on top of the second, perpendicular to it, forming a cross shape. Press lightly, then very gently remove the third and second slides.

- Rinse crushed clusters from the first and second slides using 1 mL ice-cold Spheroplasting buffer (1 M sorbitol, 50 mM sodium phosphate pH 7.5, 10 mM EDTA, 2 mM DTT, 100 μg/mL BSA) into a 2 mL tube.

- Transfer 100 μL of suspended crushed clusters to a 1.5 mL tube and pellet by centrifuging twice at 5,000 × g for 30 seconds each time. Discard supernatant.

- Resuspend pellet in 200 μL of Spheroplasting buffer warmed to 30 °C and containing 15 U zymolyase.

- Move the suspension to a tube suitable for end-to-end rotation (e.g., Sarstedt, Cat. No. 72.690.001).

- Quickly flip this tube a few times to wet the inner walls, then incubate at 30 °C for exactly 20 minutes with constant end-to-end rotation at ~23 rpm to prevent clumping.

- After incubation, immediately put the tube on ice.

- Using a wide-bore pipette, move spheroplasts through a 10 μm cell strainer into a new tube, and then through an 8 μm cell strainer, to remove larger and smaller clumps respectively.

- Pellet spheroplasts by spinning at 2,000 × g for 5 minutes using a swinging-bucket centrifuge. Remove supernatant without disturbing the pellet.

- Wash with ice-cold Wash Solution (1 M sorbitol, 10 mM Tris pH 8, 100 μg/mL BSA) three times, using the same centrifuge settings as for pelleting the spheroplasts.

- Resuspend cell pellet in 40 μL Wash Solution.

- Filter resuspension through an 8 μm cell strainer into a new 1.5 mL tube, stored on ice.