RNA extraction (TRI Reagent and Direct-zol)
Adapted from the lab compendium Snowflake Yeast Protocols — Ratcliff Lab / MuLTEE (V2).
RNA extraction
1. Harvest cells by centrifugation at 1,000 × g for 5 min.
1. Resuspend the cell pellet in 800 μL TRI Reagent (Zymo Research).
1. Transfer to 2 mL Bead Ruptor Elite / Touch Micro-Organism Lysing Mix tubes (Omni).
1. Disrupt using a Precellys 24 Tissue Homogenizer (Bertin Instruments): 6,000 rpm, 15 s, 4 cycles, with a 2 min rest on ice between cycles.
1. Purify RNA using a Direct-zol RNA MiniPrep Kit (Zymo Research), per manufacturer’s instructions.
1. Measure RNA concentration and purity by NanoDrop.
1. Store RNA samples at −80 °C.
